Insulin Pump Comparison Chart

| Manufacturer | Medtronic | Insulet | Tandem |
| --- | --- | --- | --- |
| Model | Medtronic 770G (Hybrid Closed Loop) | OmniPod (Tubeless) | T:slim X2 with Dexcom G6 (Hybrid Closed Loop) |
| Description |  |  |  |
| Basal Increments | 0.025 units per hour | 0.05 units per hour | 0.001 units per hour, after initial 0.1 |
| Insulin Capacity | 300 units | 200 units | 300 units |
| CGM Capabilities | With Medtronic Guardian 3 Link CGM | No CGM | Dexcom G6 with Basal IQ or Control IQ |
| FDA approved | Pump only: All ages All features: 7 years old and >8 units insulin per day | All ages | Basal IQ: All ages Control IQ: 6 years old, >10 units insulin per day and 55+ pounds |
| Basal Insulin requirements | 2 units or more 8 units total daily dose for all pump features | 2 units or more | 2 units or more 10 units total daily dose for all pump features |
| Insulin On Board | Yes | Yes | Yes |
| Reverse Correction | Yes | Yes | Yes |
| Battery | AA Batteries | PDM AAA batteries, DASH charge via USB | Charge via USB port |
| Downloadable | Yes | Yes | Yes |
| Waterproof | Waterproof to 12 feet for up to 24 hours | Pod: Waterproof to 25 feet for 1 hour PDM/DASH not Waterproof | Waterproof to 3 feet for up to 30 minutes |